RESORT VILLAGE OF THODE

ANNUAL WATERWORKS REPORT

As at December 31, 2019

January 22, 2020

WATERWORKS RATE POLICY - Including amendments to December 31, 2019

- The waterworks rate policy was amended to provide for an increase to cover the increased cost of water from Dundurn Rural Water Utility as well as the increases in costs to operate our distribution system at the beginning of 2017.  The current base fee for water is $400/year ($100/quarter) and consumption at $31.50/1000 gallons effective January 1, 2017.

- The water system financial statement has been consolidated with the sewer system financial statement and will now be known as the Utility System Financial Statement.  This consolidated statement for 2019 shows a surplus of $14,902.12.  The surplus has been transferred to the utility surplus.

- Water consumption was just under 2.9 million gallons in 2019.  The volume of unaccounted for water - also known as slippage, may have been addressed with the repair of two distribution line leaks – one in February and another at the beginning of December.  We have noticed a reduction in the amount of water coming into the reservoir from the Dundurn Rural Water Utility – this will be closely monitored.  The loss of revenue for the Utility due to the ‘slippage’ of approximately 1,000,000 gallons annually over the past several years has resulted in annual losses of revenue to the Municipality  of $31,500 or $290.00 per residential property.

- In 2019, property owners were charged a base fee of $400 for water and either $100 or $500 per year for sewer depending on if they are connected to the collection line or not.  The base fee for water includes the amortization of the water system which Council by resolution has directed be placed in a reserve for future system or line replacement costs.  The 2010 Waterworks System Assessment identified “no immediate”  issues and risks, but we are aware that the distribution line does not meet the expectations of a line that would be acceptable by today’s standards and have obtained a Predesign Report in anticipation of pending grant programs to replace same.  The pump house, reservoir and distribution line on Pelican Pass are relatively new and therefore are not a concern at this time.  It is possible that Council may consider an infrastructure charge to cover the pending 1.7 million dollar distribution line for Summerfeldt Dr. & Wilson Road depending on the impact of the repairs done in 2019 to the volume of lost water.

Our Municipality is committed to maintaining a financially sustainable waterworks system which can provide safe drinking water and also enhance the capacity of the Dundurn Volunteer Fire Department in firefighting efforts. Maintaining these assets benefits our community and the Blackstrap Region for the long term.

WATER SYSTEM CAPITAL INVESTMENT STRATEGY (Potable Water Supply System)

On January 8, 2007, Council passed a resolution on capital investment strategy.  This strategy is updated annually.

The objective of the Water System Capital Investment Strategy is to ensure that funds are available to replace the waterworks infrastructure as required.  The recently constructed pump house and reservoir are not a concern; however, the distribution system on Summerfeldt Drive and Wilson Road may need to be replaced within the next decade.   It is the intent of this Council to allocate funds equal to the amount of the amortization expense to provide a funded reserve for future capital costs. This may need to be augmented by a Local Improvement Levy and then leveraged to access federal and provincial infrastructure funding available.  The current balance in the Funded Amortization Account is $295,400.

RESORT VILLAGE OF THODE

ANNUAL FINANCIAL OVERVIEW – WATERWORKS

January 1, 2019 – December 31, 2019

Income/Expense Summary

Total Water System Revenue						$ 108,874

Total Water System Expenditures					$ 103,658

Gain/Loss							$     5,216

Water System Debt Servicing

Total Debt Payments Due on Water (potable) Infrastructure Loans   	$    NIL

Comparison of waterworks revenues to expenditures plus debt payments, expressed as a ratio:

$108,874

$103,658          =1.05 (For 2019, waterworks revenues covered 105% of the waterworks expenditures)

The following waterworks information is available at the municipal office for public viewing:

- The January, 2020 waterworks rate policy and capital investment strategy

- The above financial information, plus the transfer of funds to and from the waterworks

- Waterworks reserves

- The 2010 Water System Assessment

- The Agreement with the Dundurn Rural Water Utility for supply of water.

# Footnotes

Information available at the Municipal Office by September 1 of each year  per The Municipalities   Regulations

Waterworks includes both water and sewer utilities

A loan for the sewer collection line is being repaid at $32,323.00 annually plus interest at 4.7%. Final payout date is 2020.

Council and administration continue measures to mitigate the impact of lost revenue due to ‘slippage’.